## Products Order
КУРС USD
[5 empty] | Стоимость: |  | 4701 | 0
[6 empty] | 60% | 1880.4
A- Relay Switch Controller (Light, Motor, FCU)
S/N | Picture | Brief Description | Model Number | Description | ЦЕНА ЗА ШТУКУ | КОЛИЧЕСТВО | СТОИМОСТЬ USD | СТОИМОСТЬ РУБ
A1 |  | Relay 8ch 16A witch mechanical latching green relay | RLY-8ch-16A | RLY-8-канальный, 16А контроллер, используется для управления освещением и каналами моторизованных затворов (макс 16 Ампер на канал), пригоден для контура с высокой нагрузкой. Может быть запрограммирован вручную для каналов освещения, или с помощью ПК для расширенной настройки. Также он имеет отверстия для доступа к механическому реле для включения каждого канала вручную в случае неисправности сети. | 490 |  | 0 | 0
A2 |  | Relay 12ch 10A with FCU function | VLC-12ch-10A | VLC-12CH-10A предназначен для управления скоростью вращения вентилятора, управления освещением и жалюзи, этот модуль поддерживает 12 независимых каналов по 10Amps каждый, он может быть запрограммирован вручную для освещения, жалюзи, каналов скорости вентилятора, или с помощью ПК для расширенной настройки. | 525 | 1 | 525 | 0
A3 |  | Relay 4 ch 10A with motor shutter function | RLY-4ch-10A | RLY-4ch-10A контроллер, используется для управления каналами освещения, затворов или двигатели (макс 10 Ампер на канал), он может быть запрограммирован вручную для каналов освещения, или с помощью ПК для расширенной настройки. Также он имеет отверстия для доступа к механическому реле для включения каждого канала вручную в случае неисправности сети. | 220 |  | 0 | 0
A4 |  | VLC 6CH-3A | VLC-6CH-3A |  | 220 |  | 0 | 0
A5 |  | HVAC FCU controller | HVAC-6CH-VAV | HVAC6-3A-T Контроллер предназначен для управления HVAC и VAV заслонок. Для HVAC он имеет 6 выходов: (Cool, Heat, Auxiliary, Low, Medium, High fan speed), для управления VAV есть вывод 0-10V, а также внешний датчик температуры. | 220 |  | 0 | 0
B- Dimmer Controller
B1 |  | Leading Edge Dimmer 6 channel 2A | DIM-6ch-2A | TIS-DIM-6CH-2A димерный модуль 6 каналов 2А Это диммер освещения. Он состоит из 6 независимых каналов, которые могут контролировать 2A нагрузки освещения. Он может быть запрограммирован вручную для каналов освещения, или с помощью ПК для создания световых сценариев. | 490 |  | 0 | 0
B2 |  | Leading Edge Dimmer 4channel 3A | DIM-4ch-3A | TIS-DIM-4CH-3A димернай модуль 4 канала 3А Это диммер освещения. Он состоит из 4 независимых каналов, которые могут контролировать 3A нагрузки освещения. Он может быть запрограммирован вручную для каналов освещения, или с помощью ПК для создания световых сценариев. | 430 | 1 | 430 | 0
B3 |  | Leading Edge Dimmer 2 channel 6A | DIM-2ch-6A | TIS-DIM-2CH-6A димерный модуль 2 канала 6А Это диммер освещения. Он состоит из 2х независимых каналов, которые могут контролировать 2A нагрузки освещения. Он может быть запрограммирован вручную для каналов освещения, или с помощью ПК для создания световых сценариев. | 400 |  | 0 | 0
B4 |  | TE Dimmer 6CH 10A |  |  | 6427 |  | 0 | 0
B5 |  | TE Dimmer 12CH 10A |  |  | 8437 |  | 0 | 0
B6 |  | S-BUS to DMX 48 Bridge Module | TIS-DMX-48 |  | 276 | 1 | 276 | 0
B7 |  | DALI 64 Ch | TIS-DALI-64 |  | 333 |  | 0 | 0
B8 |  | LED driver DMX 4*5 |  |  | 105 | 1 | 105 | 0
B9 |  | LED driver DALI 4*7 |  |  | 152 |  | 0 | 0
B10 |  | LED driver DALI AC 1ch |  |  | 119 |  | 0 | 0
C- Sensors
C1 |  | Energy servant 10 Functions celling mount | TIS-ES-10F | ES-10F-CM Контроллер потолочного крепления, который позволяет экономить электорнергию. Рекомендуется устанавливать ES-10F-CM в каждой комнате, так же имеют все необходимые функции домашней автоматизации. | 195 | 1 | 195 | 0
C2 |  | PIR Motion sensor | TIS-PIR-CM | MS-PIR-CM Имеет потолочное крепление, пассивный инфракрасный датчик движения, легко и удобно интегрируется в протоколы TIS, и позволяет экономить электроэнергию. Рекомендуется устанавливать TIS-PIR-CM в каждой области помещения, туалет, кухня, коридор, для достижения максимальной экономии электроэнергии. | 124 | 1 | 124 | 0
C3 |  | Smart Bat Ultrasonic , Pir, Lux sensor 24VDC with NO contact output | TIS-Smart-Bat | TIS-BAT-CM Имеет потолочное крепление, ультразвуковой + пассивный инфракрасный датчик движения и датчик интенсивности освещения, что позволит экономить энергию на большой площади, способен обнаружить малейшее движение. Рекомендуется устанавливать TIS-BAT-СМ в залах, офисах, больших гостиных. | 262 |  | 0 | 0
C4 |  | Wall/Ceiling Mount PIR Sensor Normal NO/NC Enabled 12VDC PIR detection with Dual Element and Tamper switch Built in. Specs: Detection Speed: 0.15～15m/sec, Detection Range 8 Meters. Require (SB-4Z-UN) or Similar To Link to Smart-BUS | PIR-WALL-NC | Wall PIR Sensor N/C Экономный датчик PIR настенного крепления с нормально закрытым (NC) контактом, питание 12V DC, может быть подключен к любому цифровому входу устройства TIS . Используется для обеспечения безопасности и энергосбережения. | 30 |  | 0 | 0
C5 |  | Ceiling Mount PIR Sensor | PIR-CEL-NC | Ceiling PIR Sensor N/C Экономичный PIR сенсор, монтируемый на потолок с нормально закрытым (NC) контактом, питанием 12V DC, может быть подключен к любому цифровому входу устройства TIS . Используется для обеспечения безопасности и энергосбережения. | 30 |  | 0 | 0
C6 |  | Screw Recessed Door/Window mag. contact NO Type, Magnet: Neodymium, With 100VDC Voltage Tolerance, Size: 9.5DIA x 32 L mm, Operating Gap: 15-20 / 20-25 mm. (Crew Fixing: For Wooden and Aluminum Door/Window Use) | DOR-MAG-NC | Door Contact N/C Магнитный дверной контакт, нормально закрытый (NC), может быть подключен к любому цифровому входу устройства TIS . Используется для обеспечения безопасности и энергосбережения. Этот контакт имеет 3 различные формы, для установки в любые двери. | 5 |  | 0 | 0
C7 |  | Industrial Magnetic contact NO Type, Magnet: Neodymium, With 130VDC Voltage Tolerance, Size: 105.7L X 50W X 50W mm, Operating Gap: 65-75mm. (Surface Mount with armored cable, . For Gates, and Heavy Shutters) | IND-MAG-NC | Industrial door contact N/C Стальной магнитный дверной контакт, нормально закрытый (NC), может быть подключен к любому цифровому входу устройства TIS . Используется для обеспечения безопасности и энергосбережения. Рекомендуется для наружной установки. | 40 |  | 0 | 0
D- IO and Automation
D1 |  | 4 zone Digital input | TIS-4Z-IN | Used for change normal switch to digital one, also can be connected to magnetic contact, smoke detector for security and safety | 85 |  | 0 | 0
D2 |  | TCP IP/ RS232/RS 485 Port | IP-COM-PORT | IP Port with RS232, RS485 Ports used for programming , controlling 3rd party device, and to connect free IOS IPhone I pad and android free application | 264 | 1 | 264 | 0
D3 |  | Automation Timer Module | TIS-AUT-TMR | IP-COM-PORT Коммуникационный модуль с 3мя различными портами, включая UDP / ТСПИП, RS232, RS485, может отправлять и получать ASCII и HEX код с различной скоростью передачи данных, также используется в качестве моста для IOS, Android приложений, с помощью любых смартфонов и планшетов. | 262 | 1 | 262 | 0
D4 |  | Security Module | TIS-SEC-M | Used for advanced security for villa project or big project to communicate with all sensors and make advanced security logic | 262 |  | 0 | 0
D5 |  | IR Emitter with Current Sensor TIS | TIS-IR-CUR | Used to control TV, DVD, Split Air conditioner by sending Infrared code throw the IR probe, | 118 |  | 0 | 0
D6 |  | TIS SMS Module (Special Offer Until 20/Dec/2014) | TIS-SMS-Port | Used to control your home via SMS, an to report you all problems occur by sms, need to connect to TIS-IP-COM-PORT | 495 |  | 0 | 0
E- User Interface
E1 |  | Luna TFT 4.3" Panel Black | LUNA-TFT43-B | Luna touch panel with TFT screen 4.3" | 600 | 1 | 600 | 0
E2 |  | Luna TFT 4.3" Panel White | LUNA-TFT43-W | Luna touch panel with TFT screen 4.3" | 600 |  | 0 | 0
E3 |  | 9gang black | LUNA-9G-B |  | 364 |  | 0 | 0
E4 |  | 9gang black | LUNA-9G-W |  | 364 |  | 0 | 0
E5 |  | Luna bed side Panel | LUNA-BEDSIDE |  | 405 |  | 0 | 0
E6 |  | Door bell outside without RF | LUNA-OUT-BELL |  | 195.45 |  | 0 | 0
E7 |  | Card switch with 3 service |  |  | 195 |  | 0 | 0
|  |  | TERRE 4G |  | 149 | 1 | 149 | 0
|  |  | TERRE AC |  | 156 | 1 | 156 | 0
|  |  | TERRE MUS |  | 156 | 1 | 156 | 0
|  |  | TERRE 4G PA | работает с Panel Adition | 149 |  |  | 0
|  |  | TERRE AC PA | работает с Panel Adition | 156 |  |  | 0
|  |  | TERRE MUS PA | работает с Panel Adition | 156 |  |  | 0
E8 |  | Mars 10 button Panel with Thermostat & AC control (Jet Black) | Mars-AC10G-BLK | Luxury Panel with Thermostat used to control Lights Shades, Air condition, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 372 | 1 | 372 | 0
E9 |  | Mars 10 button Panel with Thermostat & AC control (Seashell White) | Mars-AC10G-WIT | Luxury Panel with Thermostat used to control Lights Shades, Air condition, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 372 |  | 0 | 0
E10 |  | Mars 10 button Panel with Thermostat & AC control (Champagne) | Mars-AC10G-CHM | Luxury Panel with Thermostat used to control Lights Shades, Air condition, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 372 |  | 0 | 0
E11 |  | Mars 10 button Panel with Thermostat & AC control (Titanium) | Mars-AC10G-TIT | Luxury Panel with Thermostat used to control Lights Shades, Air condition, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 372 |  | 0 | 0
E12 |  | Mars 10 button Panel with Thermostat & AC control (Pale Silver ) (Natural Coal) (Bronze) MOQ 200 | Mars-AC10G-SIL Mars-AC10G-COL Mars-AC10G-BRZ | Luxury Panel with Thermostat used to control Lights Shades, Air condition, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 372 |  | 0 | 0
E13 |  | Mars 12 button Panel (Jet Black) | Mars-12G-BLK | Luxury Panel 12 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 282 |  | 0 | 0
E14 |  | Mars 12 button Panel (Seashell White) | Mars-12G-WIT | Luxury Panel 12 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 282 |  | 0 | 0
E15 |  | Mars 12 button Panel (Champagne) | Mars-12G-CHM | Luxury Panel 12 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 282 |  | 0 | 0
E16 |  | Mars 12 button Panel (Titanium) | Mars-12G-TIT | Luxury Panel 12 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 282 |  | 0 | 0
E17 |  | Mars 12 button Panel (Pale Silver ) (Natural Coal) (Bronze) MOQ 200 | Mars-12G-SIL Mars-12G-COL Mars-12G-BRZ | Luxury Panel 12 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 282 |  | 0 | 0
E18 |  | Mars 8 button Panel (Jet Black) | Mars-8G-BLK | Luxury Panel 8 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 236.36 |  | 0 | 0
E19 |  | Mars 8 button Panel (Seashell White) | Mars-8G-WIT | Luxury Panel 8 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 236.36 |  | 0 | 0
E20 |  | Mars 8 button Panel (Champagne) | Mars-8G-CHM | Luxury Panel 8 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 236.36 |  | 0 | 0
E21 |  | Mars 8 button Panel (Titanium) | Mars-8G-TIT | Luxury Panel 8 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 236.36 |  | 0 | 0
E22 |  | Mars 8 button Panel (Pale Silver ) (Natural Coal) (Bronze) MOQ 200 | Mars-8G-SIL Mars-8G-COL Mars-8G-BRZ | Luxury Panel 8 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 236.36 |  | 0 | 0
E23 |  | Mars 4 button Panel (Jet Black) | Mars-4G-BLK | Luxury Panel 4 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 200 |  | 0 | 0
E24 |  | Mars 4 button Panel (Seashell White) | Mars-4G-WIT | Luxury Panel 4 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 200 |  | 0 | 0
E25 |  | Mars 4 button Panel (Champagne) | Mars-4G-CHM | Luxury Panel 4 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 200 |  | 0 | 0
E26 |  | Mars 4 button Panel (Titanium) | Mars-4G-TIT | Luxury Panel 4 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 200 |  | 0 | 0
E27 |  | Mars 4 button Panel (Pale Silver ) (Natural Coal) (Bronze) MOQ 200 | Mars-4G-SIL Mars-4G-COL Mars-4G-BRZ | Luxury Panel 4 gangs used to control Lights Shades, scenario, Music, AV IR control with built in IR receiver for remote control function, available in 7 colors | 200 |  | 0 | 0
E28 |  | Panel Addition 3 relay 2A | ADD-3R-2A | Need to be connected behind the panel to make it work with additional 3 relay lighting, FCU, curtain control function | 68 |  | 0 | 0
E29 |  | Panel Addition 3 Zone input - 12 V | ADD-3Z-12V | Need to be connected behind the panel to make it work with additional 3 digital inputs and 12 Volt output | 46 | 1 | 46 | 0
E30 |  | Panel Addition 2 Zone input + IR Emitter | ADD-2Z-IRE | Need to be connected behind the panel to make it work with additional 2 digital inputs and IR Emitter | 50 |  | 0 | 0
E31 |  | Panel Addition 2 Zone input + IR receiver | ADD-2Z-IRR | Need to be connected behind the panel to make it work with additional 2 digital inputs and IR receiver | 32 |  | 0 | 0
E32 |  | TIS simple Remote control | TIS-MRC | Elegant remote control, simple to use , can work with Mars, Luna series and 10F Energy servant | 32 |  | 0 | 0
E33 |  | 3 button Combo series | TIS-Combo3 | Normal Lighting switch with mechanical relay , good option to connect with THIS-4Z-IN to be changed to digital economy switch | 25 |  | 0 | 0
E34 |  | 2 button Combo series | TIS-Combo2 | Normal Lighting switch with mechanical relay , good option to connect with THIS-4Z-IN to be changed to digital economy switch | 25 |  | 0 | 0
E35 |  | 1 button Combo series | TIS-Combo1 | Normal Lighting switch with mechanical relay , good option to connect with THIS-4Z-IN to be changed to digital economy switch | 25 |  | 0 | 0
E36 |  | Blank Plate Combo series | TIS-Combo0 |  | 9 |  | 0 | 0
E37 |  | IPAD Cover |  |  | 336 |  | 0 | 0
F- Curtain motors
F1 |  | M3 Motor only | TIS-M3-Motor | Strong curtain motor can run curtains fabric of 30 KG, with TIS-BUS connection for home automation and RF remote control function | 510 |  | 0 | 0
F2 |  | M3 Remote control 2 channels | M3-M7-Remote-2 | RF remote control used to control 2 motors of M3-motor | 50 |  | 0 | 0
F3 |  | 2 Meters Rail |  | 2 Meters standard curtain Rail | 55 |  | 0 | 0
F4 |  | M3 curtain accessories |  |  | 105 |  | 0 | 0
G- Programmer Kit, Accessories
G1 |  | TIS IR Learner | TIS-IRL-KIT | IR Learner Kit, for programmer , used to learn all needed devices Infrared code like TV. Split AC. DVD and save it to TIS IR control devices in the network | 200 |  | 0 | 0
G2 |  | New Installer Upgrade Kit Rs485 Pluggable, Firmware Upgrade and | TIS-BUS-UPG |  | 86 |  | 0 | 0
G3 |  | IR Emitter Probe Wire |  | IR Emitter Probe + Wire of 1.5 Meter | 5 |  | 0 | 0
G4 |  | IR Eye Wire with Receiver |  | IR Receiver Probe + Wire of 1.5 Meter | 4.5 |  | 0 | 0
G5 |  | Power supply 24V DC | TIS-PS-24V | Din rail Power supply 24 Volt DC 1.5 Amps t give all TIS Devices its 24 volt power | 105 | 1 | 105 | 0
H- Audio system, Speakers, and Party lights
H1 |  | TIS-Audio Player | TIS-AUD-PLY5 |  | 582 |  | 0 | 0
H2 |  | E-Power Supply Dual Polarity, +v/-v/GND 24VDC with Direct Plugin for TIS-Audio Player | PS-2O-24 |  | 82 |  | 0 | 0
H3 |  | new Audio matrix |  |  | 532 |  | 0 | 0
H4 |  | Frameless speaker 80 Watt | TIS-SPK-FLO | 80 watt 8 ohms powerful elegant speaker, with round or square grill finishing | 120 |  | 0 | 0
H5 |  | Outdoor Wall speaker 50 W | TIS-SPK-WOUT | Powerful weatherproof outdoor speaker 50 watts, 8 ohms available in 2 colors | 140 |  | 0 | 0
H6 |  | TIS Rock speaker | TIS-Rock-SPK | Powerful weatherproof outdoor rock speaker 60 watts, 8 ohms available in 2 colors | 175 |  | 0 | 0
H7 |  | Home Party Light HPD-LED-Diamond | HPD-LED-Diamond | Stage lighting LED Effect with remote control | 178 |  | 0 | 0
H8 |  | Home Party Light HPD-LED-Stars | HPD-LED-Stars | Stage lighting LED Effect with remote control | 178 |  | 0 | 0
H9 |  | Home Party Light HPD-LED-Flower | HPD-LED-Flower | Stage lighting LED Effect with remote control | 286 |  | 0 | 0
H10 |  | Home Party Laser HPD-LSR-Firefly | HPD-LSR-Firefly | Stage lighting Laser Effect with remote control | 286 |  | 0 | 0
H11 |  | Home Party Moving Head Light HPD-LED-Square | HPD-LED-Square-X x= G Green R Red B Blue W White | Stage lighting Moving head With remote control | 364 |  | 0 | 0
H12 |  | Home Party Light HPD-LED-Water |  | Stage lighting LED Effect with remote control | 168 |  | 0 | 0
H13 |  | Home Party Remote control 8 buttons |  | Advanced remote control can control 8 Home party devices separately in 1 remote | 32 |  | 0 | 0
H14 |  | Ceiling installation Frame for HPD series |  | Ceiling installation Frame for HPD series | 9 |  | 0 | 0
I- Door Phone and Access control
I1 |  | TIS Touch Access control Kit (Special Offer Until 20/Dec/2014) | TOUCH-ACCESS |  | 364 |  | 0 | 0
I2 |  | indoor door phone |  |  | 617 | 1 | 617 | 0
I3 |  | outdoor villa door phone |  |  | 319 | 1 | 319 | 0
|  | Outdoor big door phone |  |  | 634 |  | 0 | 0
Outdoor big door phone
I4 |  | Outdoor big door phone |  |  | 996 |  | 0 | 0
[7 empty] | 4701 | 0
тел. 410-92-43
WWW.DIATONIK.RU